## Slide 1: Cryomodule electricity and ethernet locations
Plot 120 and 208 outlets and location of nearest ethernet for each cryomodule

## Slide 2
CM01
Legend 120V outlet
208 V outlet
Enet
Use scale from GP-395-001-95
95’
S1P6
6’
(not completely sure)

## Slide 3
CM02
Legend 120V outlet
208 V outlet
Enet
30’
S1P12
150’
S2P6

## Slide 4
CM03
Legend 120V outlet
208 V outlet
Enet
75’
S1P12
110’
S2P6

## Slide 5
H1
Legend 120V outlet
208 V outlet
Enet
115’
S1P12
85’
S2P6
10’

## Slide 6
H2
Legend 120V outlet
208 V outlet
Enet
140’
S1P12
65’
S2P6
7’

## Slide 7
CM04
Legend 120V outlet
208 V outlet
Enet
55’
S2P11
175’
S3P7

## Slide 8
CM05
Legend 120V outlet
208 V outlet
Enet
95’
S2P11
130’
S3P7
6’

## Slide 9
CM06
Legend 120V outlet
208 V outlet
Enet
140’
S2P11
90’
S3P7

## Slide 10
CM07
Legend 120V outlet
208 V outlet
Enet
180’
S2P11
50’
S3P7

## Slide 11
CM08
Legend 120V outlet
208 V outlet
Enet
220’
S2P11
5’
S3P7

## Slide 12
CM09
Legend 120V outlet
208 V outlet
Enet
S3P7
50’
S3P11

## Slide 13
CM10
Legend 120V outlet
208 V outlet
Enet
40’
S3P7
5’
S3P11

## Slide 14
CM11
Legend 120V outlet
208 V outlet
Enet
S3P11
210’
S4P6

## Slide 15
CM12
Legend 120V outlet
208 V outlet
Enet
40’
S3P11
165’
S4P6

## Slide 16
CM13
Legend 120V outlet
208 V outlet
Enet
85’
S3P11
125’
S4P6

## Slide 17
CM14
Legend 120V outlet
208 V outlet
Enet
125’
S3P11
85’
S4P6

## Slide 18
CM15
Legend 120V outlet
208 V outlet
Enet
165’
S3P11
40’
S4P6

## Slide 19
CM16
Legend 120V outlet
208 V outlet
Enet
80’
S4P11
125’
S5P6

## Slide 20
CM17
Legend 120V outlet
208 V outlet
Enet
125’
S4P11
85’
S5P6

## Slide 21
CM18
Legend 120V outlet
208 V outlet
Enet
165’
S4P11
45’
S5P6

## Slide 22
CM19
Legend 120V outlet
208 V outlet
Enet
120’
S4P11
S5P6

## Slide 23
CM20
Legend 120V outlet
208 V outlet
Enet
5’
S5P6
80’
S5P11

## Slide 24
CM21
Legend 120V outlet
208 V outlet
Enet
50’
S5P6
35’
S5P11

## Slide 25
CM22
Legend 120V outlet
208 V outlet
Enet
90’
S5P6
S5P11

## Slide 26
CM23
Legend 120V outlet
208 V outlet
Enet
10’
S5P11
180’
S6P6

## Slide 27
CM24
Legend 120V outlet
208 V outlet
Enet
55’
S5P11
140’
S6P6

## Slide 28
CM25
Legend 120V outlet
208 V outlet
Enet
95’
S5P11
100’
S6P6

## Slide 29
CM26
Legend 120V outlet
208 V outlet
Enet
150’
S5P11
45’
S6P6

## Slide 30
CM27
Legend 120V outlet
208 V outlet
Enet
190’
S5P11
5’
S6P6

## Slide 31
CM28
Legend 120V outlet
208 V outlet
Enet
S6P6
70’
S6P11

## Slide 32
CM29
Legend 120V outlet
208 V outlet
Enet
40’
S6P6
25’
S6P11

## Slide 33
CM30
Legend 120V outlet
208 V outlet
Enet
85’
S6P6
S6P11

## Slide 34
CM31
Legend 120V outlet
208 V outlet
Enet
20’
S6P11
185’
S7P6

## Slide 35
CM32
Legend 120V outlet
208 V outlet
Enet
65’
S6P11
145’
S7P6

## Slide 36
CM33
Legend 120V outlet
208 V outlet
Enet
105’
S6P11
105’
S7P6
DS slightly better distance to switch in rack upstairs

## Slide 37
CM34
Legend 120V outlet
208 V outlet
Enet
150’
S6P11
60’
S7P6

## Slide 38
CM35
Legend 120V outlet
208 V outlet
Enet
190’
S6P11
20’
S7P6